## Pressure Drop
Component | SF | LEF | GEF
OA Louver | 0.15 | 0 | 0.15
OA Damper | 0.15 | 0 | 0
Intake | 0 | 0.1 | 0
Filter 1 | 0.6 | 0.6 | 0.6
Filter 2 | 1 | 0 | 0
Preheat Coil | 0 | 0 | 0
Reheat Coil | 0 | 0 | 0
Cooling Coil | 1 | 0 | 0
Energy Recovery Coil | 0.6 | 0.6 | 0
Energy Recovery Wheel | 0.75 | 0 | 0.75
Humidifier | 0.1 | 0 | 0
Fan isolation dampers | 0.25 | 0.25 | 0.25
Silencer | 0 | 0 | 0
Supply air damper | 0.15 | 0 | 0.15
Misc 1 | 0 | 0.5 | 0
Misc 2 | 0 | 0 | 0
External (ductwork, TUs/Valves) | 4 | 4 | 4